

https://doi.org/10.30886/estima.v23.1644_IN 

ESTIMA, Braz. J. Enterostomal Ther., São Paulo, v23, e1644, 2025

Original article
Medical device–related pressure injury in an intensive care unit: an observational study**
Julio Cesar Faustino Junior1, Luana Ferreira de Almeida1*, Dayse Carvalho do Nascimento1, Vanessa Galdino de Paula1, Caroline de Deus Lisboa1, Ayla Maria Farias de Mesquita1

1Universidade do Estado do Rio de Janeiro – Rio de Janeiro (RJ), Brazil. https://ror.org/0198v2949
*Corresponding author: luana.almeida3011@gmail.com
Section Editor: Manuela de Mendonça F. Coelho https://orcid.org/0000-0001-6182-9486
Received: Sep. 7, 2024 | Accepted: Jun. 21, 2025.
How to cite: Faustino Junior JC, Almeida LF, Nascimento DC, Paula VG, Lisboa CD, Mesquita AMF. Medical device–related pressure injury in an intensive care unit: an observational study. ESTIMA, Braz. J. Enterostomal Ther., São Paulo, v.23, e1644, 2025. https://doi.org/10.30886/estima.v23.1644_IN
Origin of the article**

Derived from the Course Completion Paper, Prevalence of medical device–related pressure injury in an intensive care unit, submitted to the Postgraduate Program in Nursing, Residency modality, of the State University of Rio de Janeiro, 2023.
ABSTRACT

Objective: To analyze the incidence of Medical Device-Related Pressure Injury (MDRPI) in a general adult intensive care unit. Method: A cross-sectional study conducted in an intensive care unit of a university hospital in Rio de Janeiro, from May to September 2022. The sample consisted of 70 patients with at least one medical device. Patients readmitted during the study period were excluded. Data were collected starting on the third day of hospitalization and analyzed using Stata software. Results: The incidence of medical device–related pressure injury was 18.57%. The most affected site was the auricle (62%), and the device most frequently causing injury was the orotracheal tube (61.54%). No statistically significant associations were identified between sociodemographic and clinical characteristics and the occurrence of MDRPI among participants. A length of stay equal to or greater than 16 days increased the likelihood of this type of injury by sevenfold. Conclusion: The incidence of MDRPI in the investigated unit was related to patients’ length of stay. MDRPI risk assessment and skin integrity assessment at admission and on a daily basis are necessary, in addition to documenting the actions implemented in medical records.

KEYWORDS: Patient safety. Pressure ulcer. Intensive care unit. Equipment and supplies. Stoma therapy.

INTRODUCTION
Pressure injuries are localized damage to the skin and/or underlying tissue, usually over bony prominences or related to medical or other devices, resulting from prolonged pressure or pressure in combination with shear1. Medical Device-Related Pressure Injuries (MDRPI) are defined as tissue damage resulting from the use of devices applied for therapeutic or diagnostic purposes2,3.

Currently, it is proposed that MDRPI result from the interaction of a device or object in contact with the skin, directly or indirectly, including implanted devices, for example, cardiac pacemakers, ventriculoperitoneal catheters, orthopedic prostheses, and implantable neurological electrodes, generating sustained pressure over long periods and deforming both superficial and underlying tissues. As a consequence of this pressure, this type of injury has a shape similar to that of the device used1,4.

Among the devices associated with a higher risk of injury are those used for feeding and respiration, tubes, compression stockings, pulse oximeters, cervical collars, catheters, drains, adhesives, and orthopedic equipment. The orotracheal tube and nasogastric tube present higher rates of MDRPI, with an incidence of 3.1%2.

The most common sites of anatomical involvement are the auricle, urethral meatus, and nostrils. These injuries are frequently associated with longer lengths of stay in Intensive Care Units (ICUs), impaired mobility due to sedation or inability to move, as well as a greater number of devices and longer duration of device use5.

MDRPI account for more than 30% of pressure injuries occurring in hospitals, especially in ICUs, where the number of devices applied to patients and the length of hospitalization are greater when compared with other units6. In addition, costs related to hospital-acquired pressure injuries may reach approximately US$10,708 per patient on average, with a total cost of US$26.8 billion in the United States, considering 2.5 million reported cases7. In Brazil, studies on the prevalence and incidence of MDRPI are still incipient and do not demonstrate costs comparable to international data5.

Certain factors contribute to tissue impairment resulting from the use of medical devices, such as the inability to perceive pressure due to sedation or neurological damage; the duration of device use in contact with the skin; inadequacy of device design in relation to skin structure, such as size and rigidity that do not properly conform to the application site; or lack of knowledge among professionals involved in MDRPI prevention care1.

These care measures are related to repositioning and removal of devices, as well as proper adjustment and fixation. Another important aspect to be discussed is the wide variability in prevalence and incidence, the latter ranging from 1.4 to 121%, indicating heterogeneity of data when compared with patients in clinical and ICU8,9. This reinforces that there are patient-related, device-related, and nursing care–related factors that require detailed assessment regarding their particularities and their relationship with the development of MDRPI.

In association with clinical observations, the international consensus on MDRPI states that the topic is poorly studied, yet it presents high magnitude and significant repercussions for patients, especially in settings with a high density of equipment, with intensive care being a typical scenario for this occurrence1.

The need for knowledge of the main factors involved in the occurrence of MDRPI is justified by the possibility of developing prevention guidelines, such as educational programs; care protocols; and acquisition of devices appropriate to patient-specific characteristics, including review of device fixation methods, pressure sites, and standardization of the use of preventive dressings.
OBJECTIVES
This study aimed to analyze the incidence of medical device–related pressure injuries in a general adult intensive care unit.
METHODS
This is a cross-sectional study that used the Strengthening the Reporting of Observational Studies in Epidemiology (STROBE) tool10, conducted in a general adult ICU of a university hospital in the city of Rio de Janeiro, from May to September 2022.

The study setting is a unit specialized in the care of adult patients requiring intensive monitoring and treatment. This environment has ten beds, advanced technology, and a multidisciplinary team composed of physicians, nurses, physical therapists, and other health professionals to manage complex and critical cases. In addition, this ICU usually provides care for a variety of clinical conditions, such as respiratory, neurological, and metabolic diseases, among others.

The hospital is part of the Unified Health System (Sistema Único de Saúde – SUS), and patient admissions occur through the bed regulation system of the state of Rio de Janeiro. The unit serves as a teaching and clinical practice setting for undergraduate students and health professionals undergoing training and continuing education, as well as providing internship opportunities.

Patients admitted to the unit during the data collection period with at least one medical device in direct contact with the skin or mucous membranes were included. Patients readmitted during the study period were excluded to avoid data duplication, since MDRPI had already been recorded during the first admission, and also because the calculation of the incidence of this type of injury is related to the number of patients who developed MDRPI rather than the number of lesions.

The sample consisted of 70 patients, and data collection was carried out at the study site starting on the third day of hospitalization of the participants, considering evidence that the time elapsed between the initiation of medical device use in the ICU and the detection of MDRPI ranged from 1.25 hours to 19 days2.

Patient-related variables studied included date of hospital and ICU admission, source of admission, sex, ethnicity, age, comorbidities, use of vasoactive amines and/or sedation, length of stay, and risk of pressure injury at admission assessed using the Braden Scale. Device-related variables included number, type, presence, location, and stage of MDRPI, according to the international consensus3.

Data were entered into Microsoft Excel® and analyzed using Stata software version 16.0. In the descriptive analysis, the distribution of sociodemographic, clinical, and device-related information was presented. For qualitative variables, absolute numbers and frequencies were calculated. For quantitative variables, measures of central tendency (mean and median) and dispersion (minimum and maximum) were calculated.

Pearson’s ꭓ2 test was used to assess the presence of associations between risk factors, considered independent variables, and the outcome of interest, defined in this study as the occurrence of MDRPI. Logistic regression techniques were applied to identify the odds ratio for the occurrence of MDRPI in sample strata of interest, with the reference category defined as “No” or the category representing, according to the literature, the lowest risk or the best outcome. The significance level adopted throughout the analysis was 5%.

This study was approved by the institution’s Research Ethics Committee under opinion no. 4.747.146 and is part of a larger project entitled “Analysis of care practices in ICUs.”.  
RESULTS
Of the 70 patients evaluated, there was a predominance of females (61.43%), White race (52.86%), and the presence of comorbidities (81.43%). Among these, the most frequent was systemic arterial hypertension (54.29%). The mean age of the patients was 56.85 years (SD±19.45). The mean length of hospital stay was 9.07 (SD±18.9) days.

The mean number of devices was 3.18 (SD±1.13). The devices most frequently used by participants were the pulse oximeter (100%), followed by the indwelling urinary catheter (82.86%). The use of vasoactive medications was observed in 26 (37.14%) patients, and sedatives in 37 (52.86%).

The incidence of MDRPI among participants was 18.57%, being more frequent in the auricle (61.54%). Most injuries were categorized as unstageable (38.46%) or deep tissue injury (38.46%). It was observed that the main type of device causing the injury was the orotracheal tube (61.54%) (Table 1).

No statistically significant associations were identified between sociodemographic and clinical characteristics and the occurrence of MDRPI among participants. Only the category referring to a length of stay equal to or greater than 16 days was associated with MDRPI, increasing the likelihood of occurrence by sevenfold (Table 2).

No statistically significant associations were identified between the number of devices and Braden Scale categorization at admission with the occurrence of MDRPI among participants. However, a higher number of MDRPI was observed in patients with shorter lengths of hospital stay (Table 3).
DISCUSSION
In this study, female patients predominated, unlike other studies in which males were more prevalent11. However, the occurrence of MDRPI showed no significant difference between men and women, contrasting with data from the literature that demonstrate a higher prevalence of MDRPI among male patients8,12.
Most of the patients investigated were White, as observed in another study13, and this characteristic was associated with the presence of MDRPI, similar to findings from another investigation that showed a higher prevalence of device-related injuries among White patients12.
Pressure injuries may be underdiagnosed in patients with darker skin, as early skin changes, such as erythema, are not visually evident in these individuals. This contributes to a false impression of lower incidence or delayed detection. However, assessment may be challenging in certain circumstances. The area under the device in individuals with darker pigmentation should be palpated to assess the presence of edema and temperature changes3.
Comorbidities were present in most of the patients analyzed. Some conditions, in particular, affect the skin, compromise the healing process, and increase the risk of tissue breakdown, such as diabetes, renal, cardiovascular, pulmonary, neuromuscular, connective tissue and skin diseases, and immunosuppression14.
Authors indicate that some of these conditions reduce tissue tolerance to mechanical pressures exerted by devices or influence the development of uncontrolled edema, making the microclimate more susceptible to injury1. However, based on the results of this study, no relationship was observed between the presence of comorbidities and the occurrence of MDRPI.
The mean age of the population in this study was 56.68 years, similar to that reported in another study15. These data differ from other investigations in which most patients were older than 70 years16-18, increasing the likelihood of structural skin damage19.
The mean length of hospital stay (9.07 days) was shorter when compared with other studies11,12. This finding is relevant, given that prolonged contact time between the device and the skin increases the probability of developing lesions in the underlying area11.
It was observed that patients had an average of three devices, with the orotracheal tube, indwelling urinary catheter, pulse oximeter, and nasoenteric tube being the most frequently used, differing from a study that reported the use of 6 to 8 devices2. This finding may be understandable, as these devices are commonly used in the monitoring of critically ill patients. However, in certain circumstances, improper use may lead to tissue injury due to incorrect selection, adjustment, or placement, and even during handling11.
Despite the need for their use in various situations, medical devices may cause structural skin damage due to heat, moisture, and pressure, which may be intensified in cases of immobility, impaired sensory perception, and communication deficits5.
In this study, the most frequently used devices were the pulse oximeter and the indwelling urinary catheter, as reported in other studies1,13. However, one investigation showed that most MDRPI were caused by the orotracheal tube and the indwelling urinary catheter16, corroborating the findings of the present study, which demonstrated a higher occurrence of MDRPI associated with the use of the orotracheal tube.
Authors report that injuries resulting from respiratory devices account for approximately 68% of MDRPI, mainly involving the orotracheal tube, generally due to inadequate fixation, impaired tissue perfusion, difficulty in device mobilization, and consequent damage to the oral cavity5.
Respiratory devices are associated with high rates of injury, according to data from a study conducted in the United States, ranging from 30% to 70% of MDRPI in critically ill patients, with emphasis on noninvasive ventilation masks and the orotracheal tube9. This may be related to inadequate device selection, as well as inappropriate sizes and shapes. Devices manufactured with less rigid materials represent an important advantage in the prevention of MDRPI. These devices should be assessed for physical mobility and should avoid direct contact with the skin, thereby minimizing the development of injuries9,17.
The results showed that most MDRPI were unstageable or deep tissue injuries, contrasting with data from another study in which stage 1 and 2 injuries predominated, accounting for 58%; deep tissue injury accounted for 15%; and stage 3, 4, and unstageable injuries accounted for 22%20. In another study, however, stage 2 injuries predominated, with no stage 4, unstageable, or deep tissue injuries identified1. It is assumed that the findings of the present study may be related to the use of sedatives, which favor reduced mobility and loss of sensory perception and, consequently, increase the likelihood of pressure injury occurrence4. Strategies adopted to prevent MDRPI include periodic inspection of the skin under and around the device, repositioning, and the use of dressings to minimize tissue damage caused by shear forces4. 
The underlying area between the skin and the device should be observed, the device repositioned, fixation sites alternated, and the area kept free of debris and moisture19.

In this study, the most frequent device-related injuries occurred in the auricle, corroborating findings from other studies5,16. This may be explained by inadequate device fixation and the lack of skin inspection in this area. In this context, the need to keep the auricular region free from pressure is emphasized, with cushioning provided through the use of appropriate dressings, such as multilayer silicone foam dressings17.
In addition, injuries resulting from respiratory devices account for approximately 68% of MDRPI, mainly involving the orotracheal tube, generally due to inadequate fixation, impaired tissue perfusion, difficulty in mobilizing the device, and consequent damage to the oral cavity5. Respiratory devices are associated with high rates of injury, representing between 30% and 70% of MDRPI in critically ill patients, with particular emphasis on the use of noninvasive ventilation masks and the orotracheal tube19.
With regard to the orotracheal tube, it is recommended that the auricular region be kept protected during its fixation19. In the unit where the study was conducted, fixation of the orotracheal tube was performed using fabric tape, exerting sustained pressure on the facial and lip areas, particularly on the auricle, thereby exponentially increasing the risk of injury.
A length of stay equal to or greater than 16 days was associated with the occurrence of MDRPI, increasing the likelihood of occurrence sevenfold. Data found in the literature indicate that the risk of device-related injury increases by 66% when device placement is extended beyond 24 hours20. Authors also report that patients using a medical device have a 2.4-fold higher risk of developing device-related injury compared with those who do not use such devices5, with a higher prevalence of MDRPI observed in long-term care units19. An integrative review showed an MDRPI rate of 19.9%, whereas 14.3% were pressure injuries in the sacral region, 10.2% in the heel, and 8.8% in the buttocks2.
No statistically significant associations were identified between the number of devices and Braden Scale categorization at admission and the occurrence of MDRPI among participants. However, a higher number of MDRPI was observed in patients with shorter lengths of stay. Authors have shown that a short length of stay does not necessarily indicate lower clinical severity. Patients who rapidly progress to hemodynamic instability and/or require invasive interventions in the first hours of hospitalization often present an increased risk of skin injuries20.
As a limitation of this study, it should be noted that it was conducted in a single unit and that there was low patient turnover in the sector studied, which prevented an increase in the sample size during the research period. In addition, associations between MDRPI incidence and the preventive measures implemented in the studied unit were not assessed. In light of the findings of this study, further investigations are recommended on the prevalence of medical device–related pressure injuries in other contexts, using methods that allow for analysis and a better understanding of the complex interaction of risk factors in the development of MDRPI, taking into account the preventive measures adopted.

CONCLUSION
The incidence of MDRPI in the unit investigated was related to patients’ length of stay. The study revealed the importance of preventive strategies and continuous monitoring, based on the implementation of appropriate care protocols, staff training, and the use of suitable support devices that may reduce this adverse event. The need for training becomes evident, particularly with regard to MDRPI risk assessment and skin integrity evaluation, at admission and on a daily basis, for proper care planning, in addition to recording the actions implemented in medical records.

Acknowledgments: Not applicable.

Author contributions: JCFJ: Formal analysis, Conceptualization, Data curation, Writing – original draft, Investigation, Methodology, Validation, Visualization. LFA: Formal analysis, Conceptualization, Data curation, Writing – original draft, Writing – review and editing, Investigation, Methodology, Validation, Visualization. DCN: Formal analysis, Conceptualization, Data curation, Writing – original draft, Writing – review and editing, Investigation, Methodology, Validation, Visualization. VGP: Writing – original draft, Writing – review and editing, Validation, Visualization. CDL: Writing – original draft, Writing – review and editing, Validation, Visualization. AMFM: Writing – original draft, Writing – review and editing, Validation, Visualization.

Availability of research data: All data were generated or analyzed in the present study.

Funding: Not applicable.

Conflict of interest: None declared.

Research ethics committee approval: Approved by the Research Ethics Committee of the State University of Rio de Janeiro, under opinion no. 4.747.146/2022; part of the project “Analysis of care practices in intensive care units.” Certificate of Presentation for Ethical Consideration no. 41871820.7.0000.5282.
REFERENCES
1. National Pressure Injury Advisory Panel, European Pressure Ulcer Advisory Panel and Pan Pacific Pressure Injury Alliance. Pressure Ulcers/Injuries: Definition ad Etiology. Prevention and treatment of pressure ulcers/injuries: clinical practice guideline [Internet]. The International Guideline; 2025 [accessed May 26, 2025]. Available at: https://internationalguideline.com
2. Cavalcanti EO, Kamada I. Lesão por pressão relacionada a dispositivo médico em adultos: revisão integrativa. Texto Contexto Enferm. 2020;29:e20180371. https://doi.org/10.1590/1980-265X-TCE-2018-0371
3. National Pressure Injury Advisory Panel, European Pressure Ulcer Advisory Panel and Pan Pacific Pressure Injury Alliance. Prevention and treatment of pressure ulcers/injuries: quick reference guide [Internet]. The International Guideline; 2025 [accessed December 17, 2025]. Available at: https://www.nzwcs.org.nz/images/International_PUG/Quick_Reference_Guide_DIGITAL-PPPIA-Jan2016.pdf
4. Gould LJ, Alderden J, Aslam R, Barbul A, Bogie KM, El Masry M, et al. WHS guidelines for the treatment of pressure ulcers-2023 update. Wound Repair Regen. 2024;32(1):6-33. https://doi.org/10.1111/wrr.13130
5. Galetto SGS, Nascimento ERP, Hermida PMV, Busanello J, Malfussi LBH, Lazzari DD. Lesões por pressão relacionadas a dispositivos médicos em pacientes críticos: prevalência e fatores associados. Rev Esc Enferm USP. 2021;55:e20200397. https://doi.org/10.1590/1980-220X-REEUSP-2020-0397
6. Joint Commission. Preventing pressure injuries. Quick Safety [Internet]. 2022 [accessed Jul. 31, 2024]. Available at: https://digitalassets.jointcommission.org/api/public/content/Quick-Safety-25-UPDATE-3-21-22?v=4bcdf311
7. Padula WV, Delarmente BA. The national cost of hospital‐acquired pressure injuries in the United States. Int Wound J. 2019;16(3):634-40. https://doi.org/10.1111/iwj.13071
8. Dallı ÖE, Girgin NK. Medical Device-Related Pressure Injury Care and Prevention Training Program (DevICeU): effects on intensive care nurses' knowledge, prevention performance and point prevalence. Intensive Crit Care Nurs. 2024;82:103622. https://doi.org/10.1016/j.iccn.2024.103622
9. Jiang Q, Liu Y, Wei W, Zhu D, Chen A, Liu H, et al. The prevalence, characteristics, and related factors of pressure injury in medical staff wearing personal protective equipment against COVID‐19 in China: a multicentre cross‐sectional survey. Int Wound J. 2020;17(5):1300-9. https://doi.org/10.1111/iwj.13391
10. Malta M, Cardoso LO, Bastos FI, Magnanini MMF, Silva CMFP. Iniciativa STROBE: subsídios para a comunicação de estudos observacionais. Rev Saúde Pública. 2010;44(3):559-65. https://doi.org/10.1590/S0034-89102010000300021
11. Aguiar LMM, Martins GS, Valduga R, Gerez AP, Carmo EC, Cunha KC, et al. Perfil de unidades de terapia intensiva adulto no Brasil: revisão sistemática de estudos observacionais. Rev Bras Ter Intensiva. 2021;33(4):624-34. https://doi.org/10.5935/0103-507X.20210088
12. Busanello J, Quevedo EG, Escobal APL, Pinto DM, Silveira NP, Mocellin LP. Perfil clínico, sociodemográfico e preditores de óbito em unidade de terapia intensiva. Rev Enferm UFSM. 2021;11:e46. https://doi.org/10.5902/2179769263048
13. Dallı ÖE, Ceylan İ, Girgin NK. Incidence, characteristics and risk factors of medical device-related pressure injuries: an observational cohort study. Intensive Crit Care Nurs. 2022;69:103180. https://doi.org/10.1016/j.iccn.2021.103180
14. Ali FZ, Mohammad SY, Ameen DA. Factors affecting medical device related pressure injuries in intensive care units. Evidence-Based Nursing Research. 2024;5(4):24-37. https://doi.org/10.47104/ebnrojs3.v5i4.309
15. Al-Qudimat AR, Maabreh AH, Shtayat H, Khaleel MA, Allatayfeh JM, Iblasi AS. Prevention of Pressure Injuries and Nursing Interventions in Critical Care Settings: a Synthesis Without Meta-Analysis (SWiM). Chronic Wound Care Management and Research. 2024;11:13-30. https://doi.org/10.2147/CWCMR.S43462
16. Soldera D, Girondi JB, Hammerschmidt KS, Amante LN, Ouriques Neta EL. Lesões por pressão relacionadas a dispositivos médicos na prática clínica de enfermeiros. Enferm Foco. 2021;12(2):209-15. https://doi.org/10.21675/2357-707X.2021
17. Barbosa SJ, Soares SCL, Queiroz AGS, Souza RZ, Sottocornola SF. Lesão por pressão relacionada a dispositivos médicos em unidade de terapia intensiva. REAS. 2021;13(11)e9093. https://doi.org/10.25248/reas.e9093.2021
18. McNichol L, Mackey D, Watts C, Zuecca N. Choosing a support surface for pressure injury prevention and treatment. Nursing. 2020;50(2):41-4. https://doi.org/10.1097/01.NURSE.0000651620.87023.d5
19. Galetto SGS, Nascimento ERP, Hermida PMV, Busanello J, Malfussi LBH, Lazzari DD. Prevenção de lesões por pressão relacionadas a dispositivos médicos em pacientes críticos: cuidados de enfermagem. Rev Bras Enferm. 2021;74(2):e20200062. http://doi.org/10.1590/0034-7167-2020-0062
20. Karacabay, Savci A, Dalkılıç M, Hergül FK. Determining the incidence and risk factors of medical device-related pressure injury in intensive care patients. J Tissue Viability. 2023;32(4):596-600. https://doi.org/10.1016/j.jtv.2023.08.002
Table 1. Characterization of the occurrence of Medical Device-Related Pressure Injury among participants (n=70). Rio de Janeiro (RJ), 2022.
	Variables
	N
	%

	Presence of MDRPI

	No
	57
	81.43

	Yes
	13
	18.57

	MDRPI location

	Auricle
	8
	61.54

	Inguinal region
	2
	15.38

	Cervical region
	1
	7.69

	Nostril
	1
	7.69

	Finger
	1
	7.69

	MDRPI stage

	Deep tissue injury
	5
	38.46

	Unstageable
	5
	38.46

	Stage 1
	2
	15.38

	Stage 2
	1
	7.69

	Type of device

	Orotracheal tube
	8
	61.54

	Indwelling urinary catheter
	2
	15.38

	Tracheostomy cannula
	1
	7.69

	Pulse oximeter
	1
	7.69

	Nasoenteric tube
	1
	7.69

	Braden Scale at admission

	Low risk
	32
	45.71

	High risk
	28
	40

	Moderate risk
	10
	14.29


MDRPI: Medical Device-Related Pressure Injury.

Table 2. Association between sociodemographic and clinical characteristics and the occurrence of Medical Device-Related Pressure Injury (n=70). Rio de Janeiro (RJ), 2022.
	Variables
	Medical Device-Related Pressure Injury
	OR
	95%CI
	P value*

	
	Yes
	No
	
	
	

	
	n
	%
	n
	%
	
	
	

	Sex

	Female
	8
	18.60
	35
	81.40
	1.05
	0.291–3.468
	0.993

	Male
	5
	18.52
	22
	81.48
	1
	-
	

	Age group (years)

	18 to 41
	1
	6.67
	14
	93.33
	1
	-
	0.229

	42 to 65
	7
	28
	18
	72
	5.4
	0.296–26.420
	

	Over 65
	5
	16.67
	25
	83.33
	2.8
	0.598–49.562
	

	Length of stay (days)

	3 to 5
	6
	12.50
	42
	87.50
	1
	-
	0.113

	6 to 10
	4
	26.67
	11
	73.33
	2.54
	0.609–10.623
	

	11 to 15
	0
	0
	1
	100
	†
	†
	

	16 or more
	3
	50
	3
	50
	7
	1.14–42.969
	

	Ethnicity

	White
	7
	18.92
	30
	81.08
	1
	-
	0.981

	Brown
	4
	17.39
	19
	82.61
	0.902
	0.232–3.502
	

	Black
	2
	20
	8
	80
	1.071
	0.185–6.192
	

	Has comorbidities

	Yes
	11
	19.30
	46
	80.70
	1.315
	0.254–6.807
	0.743

	No
	2
	15.38
	11
	84.62
	1
	-
	

	Systemic arterial hypertension

	Yes 
	8
	21.05
	30
	78.95
	1.44
	0.419–4.938
	0.561

	Diabetes mellitus type 1

	Yes
	0
	0
	2
	100
	†
	†
	0.493

	Chronic obstructive pulmonary disease

	Yes
	0
	0
	5
	100
	†
	†
	0.268

	No
	13
	20
	52
	80
	
	
	

	Chronic kidney disease

	Yes
	1
	8.33
	11
	91.67
	0.540
	0.270–1.081
	0.316

	No
	12
	20.69
	46
	79.31
	1
	-
	

	Use of vasoactive drugs

	Yes
	7
	26.92
	19
	73.08
	2.33
	0.687–7.916
	0.167

	No
	6
	13.64
	38
	86.36
	1
	-
	

	Use of sedatives

	Yes
	8
	21.62
	29
	78.38
	1.54
	0.450–5.296
	0.487

	No
	5
	15.15
	28
	84.85
	1
	-
	

	Use of orotracheal tube

	Yes
	7
	25.93
	20
	74.07
	0.463
	0.136–1.567
	0.210

	Use of tracheostomy

	Yes
	3
	37.50
	5
	62.50
	0.320
	0.065–1.561
	0.144

	Indwelling urinary catheter

	Yes
	13
	22.81
	44
	77.19
	†
	†
	0.056

	Nasoenteric tube

	Yes
	9
	25.71
	26
	74.29
	0.372
	0.102–1.351
	0.124

	Nasogastric tube

	Yes
	1
	100
	0
	0
	†
	†
	0.035‡


OR: odds ratio; 95% CI: 95% confidence interval.

*ꭓ2 test; †not calculable due to absence of event occurrence; ‡category with statistically significant p-value.

Table 3. Association between the number of devices and Braden Scale at admission with the occurrence of Medical Device-Related Pressure Injury (n=70). Rio de Janeiro (RJ), 2022.
	Variables
	Medical Device-Related Pressure Injury
	OR
	95%CI
	P value*

	
	Sim
	Não
	
	
	

	
	n
	%
	n
	%
	
	
	

	Number of devices

	One
	0
	0
	7
	100
	†
	†
	0.094

	Two
	0
	0
	14
	100
	†
	†
	

	Three
	2
	16.67
	10
	83.33
	1
	-
	

	Four
	10
	30.30
	23
	69.70
	2.17
	0.401–11.781
	

	Five
	1
	25
	3
	75
	1.66
	0.109–25.432
	

	Braden Scale at admission

	High risk
	7
	25
	21
	75
	2.33
	0.603–9.023
	0.459‡

	Moderate risk
	2
	20
	8
	80
	1.75
	0.269–11.359
	

	Low risk
	4
	12.5
	28
	87.5
	1
	-
	


OR: odds ratio; 95% CI: 95% confidence interval.

*ꭓ2 test; †not calculable due to absence of event occurrence; ‡category with statistically significant p-value.

Julio Cesar Faustino Junior �HYPERLINK "https://orcid.org/0000-0003-0721-8371"��https://orcid.org/0000-0003-0721-8371�  


Luana Ferreira de Almeida �HYPERLINK "https://orcid.org/0000-0001-8433-4160"��https://orcid.org/0000-0001-8433-4160� 


Dayse Carvalho do Nascimento �HYPERLINK "https://orcid.org/0000-0002-0728-3715"��https://orcid.org/0000-0002-0728-3715� 


Vanessa Galdino de Paula �HYPERLINK "https://orcid.org/0000-0002-7147-5981"��https://orcid.org/0000-0002-7147-5981� 


Caroline de Deus Lisboa �HYPERLINK "https://orcid.org/0000-0001-5089-9139"��https://orcid.org/0000-0001-5089-9139� 


Ayla Maria Farias de Mesquita �HYPERLINK "https://orcid.org/0000-0001-6777-9352"��https://orcid.org/0000-0001-6777-9352�  








